FETCH / WRITE COMMUNICATION WITH AN 
S5 PLC WITH S5-TCP/IP VIA TCP/IP 
(PLC HEADER)

Task

Reading values from an S5 PLC with S5-TCP/IP and displaying them in an OPC client. 
The INAT OPC server will be used for this task. In addition, values are to be written from the application to the PLC. Communication is done via TCP/IP.

| PC mit - INATnet Parametrierung - OPC-Server - OPC-Client | PC with - INATnet parameterization - OPC server - OPC client |
| --- | --- |
| S5 mit INAT S5-TCP/IP | S5 with INAT S5-TCP/IP |
| SCHREIBEN | WRITE |
| LESEN | READ |
| Write aktiv | Write active |
| Write passiv | Write passive |
| Fetch aktiv | Fetch active |
| Fetch passiv | Fetch passive |
| TCP/IP (SPS-Header) | TCP/IP (PLC Header) |

Solution

To be able to both read data from an S5 PLC and write data to it, a write connection is needed in addition to the read connection. Reading and writing data over a single connection is not possible.

The activity is initiated by the workstation on the Ethernet. The PC uses a FETCH job (Fetch active) to get data and a WRITE job (Write active) to write data.

The S5 PLC remains passive (Fetch passive / Write passive). The connections need to be parameterized on both sides of the communication.

In the OPC server, only a single connection has to be parameterized. The Fetch job and the Write job are specified using the port numbers. In the S5 PLC, a Write passive connection is created in addition to a Fetch passive connection. The RECEIVE ALL block and the SEND ALL block are also required.

How to parameterize connections in the S5 CP

● As data is to be read from the PLC and written to the PLC, a Fetch passive and a Write passive connection are parameterized in the CP.

● Start the INAT parameterization software and double-click S5-TCP/IP (basic configuration has to be complete).

● In the connection overview, select Connection > New.

| Fetch passive connection in S5 CP | Write passive connection in S5 CP |
| --- | --- |

● Enter a name for the new connection, select TCP/IP for the transport protocol and S5 for the application protocol.

● In the next dialog box, the PLC parameters are configured.

| Fetch passive connection in S5 CP | Write passive connection in S5 CP |
| --- | --- |

● Select the “Fetch passive” job type for the read connection, and the “Write passive” job type for the write connection.

● You can use the job numbers suggested by the software.

● In the next dialog box, the TCP/IP parameters are configured.

| Fetch passive connection in S5 CP | Write passive connection in S5 CP |
| --- | --- |

● Select Passive under “Connection Establishment.” For the destination IP, you can enter a wildcard address 0.0.0.0.
Assign a port for read access (here, 5000 for the Fetch passive connection) and a port for write access (here, 6000 for the Write passive connection).

● For the communication of INAT components, select PLC Header.

● The connections in the CP have now been created. Next, the partner connections are parameterized in the OPC server.

How to parameterize the connection in the OPC server

In the OPC server, a Fetch active connection and a Write active connection are parameterized.

● Start the OPC server.

● Select Configuration > Access Path Definitions.

● Select Configuration > New.

Fetch/Write connection in OPC server

● Enter a name for the new connection, select TCP/IP for the transport protocol and S5 for the application protocol.

● In the next dialog box, the TCP/IP parameters are configured.

Fetch/Write connection in OPC server

● The Port for Read must correspond to the port you assigned when configuring the Fetch passive connection in the CP (here, 5000).

● The Port for Write must correspond to the port you assigned when configuring the Write passive connection in the CP (here, 6000).

● Select Active under “Connection Establishment.” Enter the IP address of the S5 CP as the destination IP.

● The connections in the OPC server have now been created.

● Exit the OPC server for the settings to take effect.

● You can now read data from and write data to the PLC via an OPC client.

● To do this, connect the client and the server, create an OPCGroup and define the OPC items. Make sure that the name you use for the Access Path is the same as the one you defined as the connection name in the OPC server (in this example, fetchwrite). Take care to use the correct S5 syntax (a detailed description of the item ID syntax is provided in the OPC server's online help).